## Slide 1: Aluminium Kinetic Inductance Detectors at 1.54 THz limited by photon noise and generation-recombination noise
Pieter de Visser, Jochem Baselmans, Juan Bueno, Nuria Llombart, Teun Klapwijk
SRON
TU Delft, Faculty of Applied Sciences
TU Delft, Faculty of Electrical Engineering Mathematics and Computer Siences

## Slide 2: Optical Noise Equivalent Power @ 1.54 THz
GR - Noise
Photon
Noise

## Slide 3: Operation principle
Day et al, Nature 425, 817 (2003)
2Δ
Cooper Pairs
Quasiparticles
h
Photons break Cooper pairs => quasiparticles
Higher resistance and kinetic inductance
Dip depth / amplitude: resistance
Resonant frequency / phase: inductance

## Slide 4: Anticipated fundamental limits
KID is a pair breaking detector: fluctuations in the quasiparticle number
Photon noise (= generation noise)
Recombination noise
Generation-recombination noise
Prediction from dark experiments:
NEP of 2 x 10-19 W/Hz1/2 limited by the presence of excess quasiparticles

## Slide 5: Design
All Aluminium KID
Central Line: 50 nm Al
Groundplane: 100 nm Al
Halfwave resonator with isolated central strip
X-slot Antenna, broad band around 1.54 THz
2 mm silicon elliptical lenses
Design suitable for higher frequencies >1.54 THz

## Slide 6: Controlled optical setup
8 optical filters!
Box-in-box setup
Baselmans et al. JLTP 167, 360 (2012)
J. Bueno, Poster 106 (Thursday)
Notes: Mention polariser

## Slide 7: Large range in optical power

## Slide 8: Fundamental limit: Photon Noise
Optical Power (fW)
Random arrival rate
of the optical photons
+ recombination noise
Recombination time scales with
as expected

## Slide 9: Generation-recombination noise
De Visser et al. PRL 106, 167004 (2011)
Wilson & Prober, PRL, 87, 067004 (2001)
Quasiparticle fluctuations

## Slide 10: Optical Noise Equivalent Power
GR - Noise
Photon
Noise
Photon noise limited NEP => Measure of optical efficiency: 48%

## Slide 11: Optical responsivity + lifetime: Microwave readout power dependent
De Visser et al. APL 100, 162601 (2012)
Goldie, SuST, 26, 015004 (2013)

## Slide 12: Microwave readout power: Excess quasipartilces AND nonlinear reponse due to redistribution of quasiparticles
arXiv: 1306.4992
Poster 104 (Monday)

## Slide 13: Summary
Kinetic Inductance Detector at 1.54 THz
  Fundamental noise sources for pair breaking detectors revealed:
    Photon noise limited
    Generation-recombination noise => excess quasiparticles
  NEP 3.8 x 10-19 W/Hz1/2, 48% optical efficiency
Well controlled optical setup, large power range
1.54 THz experiment - arXiv:1306.4238
Microwave response - arXiv:1306.4992

## Slide 14
KID at 1.54 THz
GR - Noise
Photon
Noise
Optical efficiency: 48%
arXiv:1306.4238